## BT_detectors_corrected
detector_n | street1 | street2 | bluetooth_ | wifi_id | detector_1 | project | date_start | date_end | Last data received date | latitude | longitude | PX | index1 | Comments | Status
Islington | Gardiner | Islington | 4033 |  |  | RESCU | 2015-09-24 |  |  | 43.62 | -79.5126 |  | 136 | Location corrected to the lat and lon as of JJ table for detector ID 4033. This could be detector B. all_analyses does not have name 'Islington'. But analysis ID at that location shows that A to B and B to A. | For Review
|  |  | 4034 |  |  |  | 2014-06-01 | [6 empty] | No info available but it is still in JJ inventory table. Check the location and write its number. Could be a dead detector. populate the end date and location if dead. | dead
E | Gardiner | Parliament | 4035 |  |  | RESCU | 2014-03-01 | 2018-05-08 |  | 43.6482 | -79.3595 |  | 117 | 4035 in Gardiner moved near to Gardiner and Parliament. Last signal received 2020-02-07. May be two detectors to send signals for EB and WB traffic. Confirm. Analysis ID 130578, 1391996, 1451167, 130572, 1390125. All_analyses table also contains a detector with name E4035 must be this detector but has analysis_id as 165718 | Dead
SH_PH | Sheppard | Pharmacy | 4037 | 347 |  | Short_Study |  |  |  | 43.7763 | -79.3179 | 749 | 150 | Name SH_PH added, detector not in the said location now. In JJ inventory table but no name. if discontinued, populate end date | Decommissioned
WS_JA | Wellesley | Jarvis | 4037 | 346 |  | Downtown Expansion | 2018-09-07 |  |  | 43.6662 | -79.3783 | 11 | 84 | Exists in jj table but says offline. PX correct but more than 15 m apart. Still sending signals | Active
|  |  | 5005 |  |  |  | 2014-01-01 | 2019-07-09 | [5 empty] | No info available but it is still connected in JJ console table. Check the location and write its names. Ask JJ for further details. | Dead
I | DVP | Wynford | 5006 |  |  | RESCU | 2013-12-01 |  |  | 43.7271 | -79.3302 | 1037 | 123 | Detector is in JJ table but 80m apart PX is correct | Active
F | DVP | Dundas | 5007 |  |  | RESCU | 2014-03-01 |  |  | 43.662 | -79.3544 |  | 118 | location in JJ table is 38m west of this one no PX, Analysis ID 116788, 116858, 130572, 1470639 | Active
G |  |  | 5008 |  |  |  | 2014-03-01 | 2016-11-30 | [5 empty] | JJ's inventory table with removed date populated | Decommissioned
H |  |  | 5009 |  |  |  | 2013-12-01 | 2017-04-01 | [5 empty] | JJ's inventory table with removed date populated | Decommissioned
K |  |  | 5010 |  |  |  | 2014-01-01 | 2017-03-31 | [5 empty] | JJ's inventory table with removed date populated | Decommissioned
A |  |  | 5011 |  |  |  | 2014-01-01 | 2017-03-01 | [5 empty] | JJ's inventory table with removed date populated | Decommissioned
B |  |  | 5012 |  |  |  | 2014-01-01 | 2017-09-17 | [5 empty] | JJ's inventory table with removed date populated. B detector last signal received was on 2019-12-04. Which B is that among the three Bs here in the inventory table ? | Decommissioned
C | Gardiner | Dufferin | 5013 |  |  | RESCU | 2014-01-01 | 2019-12-04 |  | 43.6325 | -79.4296 |  | 114 | Detector in JJ inventory table. Signal last received 2019-12-04. analyses table lat lon 43.63453572 -79.42255218 and named as C5013. Analysis_id are 1388022 and 1390390. | dead
Z1 |  |  | 5014 |  |  |  | 2014-01-01 | 2014-09-01 | [5 empty] | JJ's inventory table with removed date populated | Decommissioned
Z2 | Lakeshore | Dufferin | 5015 |  |  | RESCU | 2014-01-01 |  |  | 43.6308 | -79.4272 |  | 133 | No PX nearby | Active
D |  |  | 5016 |  |  |  | 2014-03-01 | 2014-03-01 | [5 empty] | JJ inventory table with removed date same as installed date. Could be mistake | Decommissioned
D | Gardiner | Spadina | 5017 |  |  | RESCU | 2014-03-01 |  |  | 43.6384 | -79.3919 |  | 115 | JJ table location and this location is more than 200m apart | Active
LE | Lakeshore | Parliament | 5055 |  |  | RESCU | 2014-09-01 |  |  | 43.6482 | -79.3595 | 209 | 129 |  | Active
B1 | Gardiner | Roncesvalles | 5056 |  |  | RESCU | 2014-08-01 |  |  | 43.6368 | -79.4432 |  | 113 | within 10 m limit. B15056 stopped on 2019/12/04 and likely replaced by this detector. Name B15056 exist in analysis_ids 378651, 1388022 and 1390390. and name B1 exist in analysis_id 166985 and 1387515 | Active
LY | Lakeshore | Yonge | 5057 |  | LY5057 | RESCU | 2014-09-01 |  |  | 43.6443 | -79.3757 | 1541 | 130 | Detector in JJ table 204m apart | Active
Z3 |  |  | 5058 |  |  |  | 2014-09-01 | [6 empty] | No info available. But in JJ inventory table. Mentions bad splitter. Must be dead | Dead
Z1 | Lakeshore | Ellis | 5059 |  |  | RESCU | 2014-01-01 |  |  | 43.6367 | -79.4646 | 228 | 131 | Detector in JJ table within 10m | Active
Z3 | Lakeshore | Strachan | 5060 |  |  | RESCU | 2014-09-01 |  |  | 43.6325 | -79.4102 | 222 | 134 | Detector in jj table. 250m west of strachan ave. Locational diellema. PX is correct if detector is at strachan and lakeshore. Name as Z35060 in analysis. | Active
LB5061 | Harbour EB | Bay | 5061 |  | LB5061 | RESCU | 2014-08-01 | 2020-06-08 |  | 43.6423 | -79.3773 | 213 | 128 | JJ inventory table, Nearest PX 213 populated. date end populated. Signal last received 2020-06-08. All_analyses table also contains detector name LB5061 with analysis_id 1393437 and 1396053. Detector named LB does not exist. | Inactive
Spanbridge | DVP | Spanbridge | 5121 |  |  | RESCU | 2015-09-24 |  |  | 43.7126 | -79.3251 |  | 137 | Detector # 4033 was near this detector. As # 4033 now moved to islington and Gardiner. Should be a part of analysis ID 116812. Need to make sure of its location. All_analyses does not have Spanbridge | For Review
York Mills | DVP | York Mills | 5122 |  |  | RESCU | 2015-09-24 |  |  | 43.7486 | -79.3337 | 756 | 138 | Exist in JJ table. 1 km south of Yorkmills Rd. BT ID 5806 is at Yorkmills Rd and DVP. PX same as BT ID 5806. need to ask updated coordinates from JJ to verify. Intersection name need to adjust accordingly. All_analyses does not have Yorkmills | For Review
AD3 | Dundas | Dovercourt | 5123 | 291 |  | Parking Restrictions | 2015-11-26 | 2018-08-31 | 2018-08-29 10:10 | 43.6495 | -79.4248 | 182 | 103 | Detector in JJ inventory table. PX is correct. Signal last received 2018-08-29 and 2018-08-14. So must have been replaced. | Dead
WS_PA | Wellesley | Parliament | 5123 | 291 |  | Downtown Expansion | 2018-08-30 |  |  | 43.6682 | -79.3695 | 251 | 85 | In JJ inventory table , PX correct. Can't determine the last data pull date. Another detector with ID 5123 has its name as AD3 in Dundas and Douvercourt. But AD3 has date removed populated. Therefore, its status changed to inactive. | Inactive
Royal York | Gardiner | Royal York | 5124 |  |  | RESCU | 2015-09-24 |  |  | 43.6224 | -79.5007 |  | 139 | Lat lon added from JJ table with BT # 5124. all_analysis does not show detector with the name Royal York on its route_points. Need to check. This detector is probably between detectors A and B in analysis_id 116749 and 116894. | For Review
DU_JA | Dundas | Jarvis | 5126 | 137 |  | King Pilot | 2017-09-27 |  |  | 43.6571 | -79.3746 | 2085 | 11 | Exists in JJ table, within 10 m apart. | Active
Jedburgh |  |  | 5227 |  |  |  | 2016-04-10 | 2017-03-30 | [5 empty] | Exists in JJ inventory table. No other details | Decommissioned
Jedburgh | Lawrence | Jedburgh | 5228 | 394 |  |  | 2016-04-10 |  |  | 43.7246 | -79.4056 | 421 | 144 | Originally Jedburgh BT # was 5805, In JJs table this detector ID is 5228, PX is correct so changed to 5228. | For Review
SH_HH | Sheppard | Heron's Hill Way | 5228 | 292 |  | Short_Study |  | 2018-08-20 |  | 43.7754 | -79.335 | 2092 | 149 | name SH_HH added, bt name "Settlers" is used in analysis table. In jj table detector 5228 is at Lawrence and Jedburgh near to 5805 | Decommissioned
QU_BA |  |  | 5230 |  |  |  | 2017-03-06 | 2018-05-03 | [6 empty] | Dead
Beechwood | DVP | Beechwood | 5233 |  |  | RESCU | 2015-09-24 |  |  | 43.6957 | -79.3541 |  | 140 | JJ inventory table, probably not sending signals check, could not determine last signal sent date. May have been decomissioned or moved | dead
DU_SP |  |  | 5234 |  |  |  | 2015-11-26 | 2018-05-03 | [6 empty] | Dead
AD2 | Dundas | Sterling | 5236 | 294 |  | Parking Restrictions | 2015-11-26 | 2018-08-31 | 2018-08-14 08:35 | 43.6508 | -79.4431 | 2366 | 102 | Detector in JJ latest table. Last signal received 2018-08-14. Another AD2 last signal was received on 12/17/2017. So must have been replaced. | Dead
DU_RO | Dundas | Roncesvalles | 5263 | 341 |  | Parking Restrictions | 2015-11-26 | 2018-08-31 |  | 43.6536 | -79.4516 | 1305 | 3 | Detector in JJ inventory table | Dead
CO_PA | Carlton | Parliament | 5266 | 344 |  | Parking Restrictions | 2015-11-26 | 2018-10-10 |  | 43.6643 | -79.3682 | 250 | 2 | Detector in JJ inventory table. PX is correct. Same BT ID as detector DU_OS. Might have been moved. Signal last received 2018-10-10 | Dead
DU_OS | Dundas | Ossington | 5266 | 344 |  | Downtown Expansion | 2018-10-10 |  |  | 43.6494 | -79.4209 | 180 | 75 | In JJ Inventory table, px is correct, duplicate BT ID with CO_PA. No data received record in analysis table from detector with name DU_OS. But CO_PA end date and DU_OS start date is same. As detector number is same, it might have been relocated from CO_PA to DU_OS. Need to check | For Review
BD_DU | Bloor | Dundas | 5268 | 343 |  | Downtown Expansion | 2018-10-10 |  |  | 43.6564 | -79.4524 | 327 | 65 | px is correct. BT # same as CO_BA. Originally named as BL_DU. Changed to BD_DU to match analysis table. No data pulled for date of last signal received. analysis_id IN (1495923, 1495090) | For Review
CO_BA | College | Bathurst | 5268 | 343 |  | Parking Restrictions | 2015-11-26 | 2018-10-10 |  | 43.6566 | -79.408 | 300 | 0 | PX is correct, BT # same as BD_DU. Signal last received 2018-10-10 | Dead
|  |  | 5269 |  |  |  | 2016-04-10 | [6 empty] | Detector in jj inventory table. No other details. Is this still active ? Start date is there but no other details. Name 5269_1 and 5269_2 exist in all_analyses table route_point names in analysis_id 1419698. | For Review
VP_401 | Victoria Park | 401 | 5270 | 347 |  | Short_Study |  |  |  | 43.7698 | -79.3201 | 758 | 148 | Name VP-401 added, JJ inventory table. Name 5270_1 and 5270_2 exist in all_analyses table route_point names in analysis_id 1422719 and 1422744 | Decommissioned
VP_CL | Victoria Park | Clydesdale | 5271 | 296 |  | Short_Study |  |  |  | 43.7838 | -79.3272 | 1251 | 147 | Name VP_CL added. in JJ inventory table, Short study, already removed. Analysis ID 1448778, 1448846 | Decommissioned
CO_OS | College | Ossington | 5272 | 293 |  | Downtown Expansion | 2018-10-11 |  |  | 43.6544 | -79.4226 | 829 | 72 | This one stays as 5272. The other one which was originally 5272 is at castlefield and Yonge. Analysis_id 1460798 and 1461616. Analysis table has name 5272 and not CO_OS for this detector. | For Review
RM_PA | Richmond | Parliament | 5326 |  |  | Cycle Tracks | 2016-05-14 | 2018-04-17 | 2018-10-09 11:15 | 43.6546 | -79.3641 | 223 | 31 | In inventory JJ table. PX correct, Last signal 2018-04-17 | Dead
AD_BA |  |  | 5327 |  |  |  | 2016-05-14 | 2017-11-13 | [5 empty] | In JJ inventory table. No other details | Dead
RM_BA |  |  | 5328 |  |  |  | 2016-10-01 | 2018-05-03 | [5 empty] | In JJ inventory table. No other details | Dead
BA3 | Adelaide | Simcoe | 5329 |  |  | Cycle Tracks | 2016-10-01 | 2018-08-31 |  |  |  | 198 | 107 | Analysis ID 1427965, 1432972,1432987 1432992. Discontinued detector. In JJ inventory table. Could not determine the location. | Dead
WS_YO | Wellesley | Yonge | 5329 | 397 |  | Downtown Expansion | 2018-08-28 |  |  | 43.6649 | -79.3845 | 39 | 87 | This one and detector named BA3, Both have same #. Could have been same detector moved to this location. PX correct. Analysis ID 1496557, 1496811, 1496573 and 1496793. No datetime_bin data returned. In all_analyses table there is also a detector with name 5329 with analysis ids 1458962 and 1458969 for which signal last received was 2017-12-13. So could it be a different detector, same detector relocated. confirm | For Review
BA2 | Adelaide | Sherbourne | 5330 |  |  | Cycle Tracks | 2016-05-14 | 2018-08-31 |  |  |  | 255 | 108 | # 5330 in JJ latest table is also at Bloor and Avenue (BD_AV). The same detector id creates confusion. BA2 looks like it is still active. End date is populated. Creating confusion. Might have been replaced. | For Review
BD_AV | Bloor | Avenue | 5330 | 396 |  | Downtown Expansion | 2018-09-07 | 2020-08-25 | 2020-09-11 20:30 | 43.6687 | -79.3941 | 86 | 61 | This one exists. More than 80m apart between detector location and jj table location. BL to BD to match data table | Active
GE_UN | Gerrard | University | 5331 | 295 |  | Downtown Expansion | 2018-10-11 |  |  | 43.6577 | -79.3899 | 1608 | 79 | Detector named Mt Pleasant has the same BT # as GE_UN. . No signal reported yet. location and detector name correct, PX correct. Analysis ID 1455400, 1455243, 1495506, 1496191 | For Review
Mt Pleasant | Lawrence | Mt Pleasant | 5331 | 295 |  |  | 2016-04-10 |  |  | 43.7263 | -79.3966 | 142 | 146 | This detector is within 30m to detector with ID 5333. Even though 5333 has a end date, jj table shows 5333 as active one | Active
G | DVP | Bayview | 5332 |  |  | RESCU | 2014-03-01 |  |  | 43.6824 | -79.3621 |  | 119 | No nearby PX. jj and detector more than 100m apart. Analysis ID 116796, 116852, probably Two detectors to capture SB and NB on DVP. There is also a detector name 5332_1 and 5332_2 with analysis ID 1429567. Are these detectors same ? | Active
BR2 | Richmond | Sherbourne | 5333 |  |  | Cycle Tracks | 2016-10-01 | 2018-08-31 |  |  |  | 256 | 106 | Detector with this bt ID is active but at lawrence and Mt pleasant with detector # 5333. BR2 was sending signal until 2020-08-22. Can't determine location. | For Review
AD_PA | Adelaide | Parliament | 5334 |  |  | Cycle Tracks | 2016-05-14 | 2018-10-12 |  | 43.6535 | -79.3636 | 214 | 39 | Detector in JJ table. Signal last received 2018-10-12 | Dead
BR3 | Richmond | Duncan | 5335 |  |  | Cycle Tracks | 2016-10-01 | 2018-08-31 |  |  |  | 267 | 105 | Detector in JJ inventory table. discontinued. Signal last received 2017-07-21 | Dead
GE_BV | Gerrard | Broadview | 5335 | 390 |  | Downtown Expansion | 2018-09-24 |  |  | 43.6654 | -79.3527 | 374 | 76 | This detector is in jj table. PX is correct but 20m apart. | Active
CO_DF | College | Dufferin | 5412 | 494 |  | Downtown Expansion | 2018-10-10 |  |  | 43.6526 | -79.4326 | 605 | 71 | PX is correct. Same BT ID for QU_DF. CO_DF not in analysis table, no route through this detector | New location
QU_DF | Queen | Dufferin | 5412 |  |  | Parking Restrictions | 2017-01-30 | 2018-10-10 |  | 43.6421 | -79.4287 | 1329 | 14 | Detector in JJ inventory table. PX is correct, Signal last received 2018-10-10 | Dead
CO_UN | College | University | 5414 |  |  | Parking Restrictions | 2017-01-30 | 2018-10-12 |  | 43.6596 | -79.3907 | 83 | 1 | Detector in JJ table. PX is correct. Signal last received 2018-10-12 | Dead
FB_YK | Bremner | York | 5417 | 393 |  | King Pilot | 2017-09-27 | 2018-12-14 |  | 43.6428 | -79.3815 | 1755 | 59 | Detector in JJ table. PX is correct. Signal last received 2018-12-14 | Dead
Sheppard | Sheppard | Morningside | 5608 | 653 |  |  | 2017-06-19 |  |  | 43.802 | -79.1998 | 1108 | 162 | This detector is though at sheppard and morning side, analysis table shows that it may be associated with routes at around Pharmacy and Sheppard area. Still an active detector.There are 25 analysis_ids associated with the detector with name Sheppard. 1448385, 1448408, 1448463, 1448494, 1448526, 1448562, 1448567, 1448650, 1448655, 1448660, 1448685, 1448710, 1448740, 1448745, 1448768, 1448794, 1448799, 1448805, 1448815, 1448836,1448841, 1448846, 1448851, 1458787, 1458797. There are two analysis ids 1460834 and 1461700 associated with detector whose name is 5608 in the analysis table. | For Review
BD_BV | Danforth | Broadview | 5609 | 649 |  | Downtown Expansion | 2018-09-10 |  |  | 43.6764 | -79.3585 | 294 | 63 | JJ table location is 55 m west of this device. need to check. BL to BD to match data table | Active
| Sheppard | Settlers | 5609 | 649 |  | Short_Study |  | 2018-08-31 |  | 43.7747 | -79.3267 | 1249 | 158 | This detector name could be 'Settlers' , detector was for short study and should have been dicommissioned. However, the detector named 'Settlers' still sending signals. Another detector with name BL_BV also has the same detector # 5609. But Settlers' was removed on 2018/08/31. So the name 'Settlers' could refer to BL_BV | For Review
Brenyon | Brenyon | Wickson | 5610 | 657 |  |  | 2017-06-26 |  |  | 43.8055 | -79.2116 | 2247 | 168 | Exists in JJ table 15 m apart from detector's table location | Active
401 | Morningside | 401 | 5611 | 652 |  |  | 2017-06-20 | 2018-08-21 |  | 43.7978 | -79.1977 | 1032 | 166 | Detector stopped sending signals. Likely replaced by 401Morn #9191 | Dead
CN_IB | Consumers | IBM | 5612 | 655 |  | Short_Study |  | 2018-08-31 |  | 43.7705 | -79.331 | 1280 | 159 | Name CN_IB added, in JJ Inventory table | Decommissioned
HB_QP | Hoskin | Queens Park Cres | 5612 | 655 |  | Downtown Expansion | 2018-09-10 |  |  | 43.665 | -79.394 | 1482 | 82 | Detector in JJ table within 10m. New detector location without routes, most have been moved from CN_IB after short study was over. | New location
Briar Hill | Yonge | Briar Hill | 5613 | 651 |  |  | 2017-06-22 |  |  | 43.7136 | -79.3998 | 482 | 154 | Exists in JJ table 19 m apart from detector's table location | Active
Neilson | Sheppard | Neilson | 5614 | 656 |  |  | 2017-06-19 | 2019-01-21 |  | 43.7982 | -79.2176 | 1222 | 160 | Detector in JJ's inventory table. Signal last received 2019-01-21 | Dead
Chatsworth | Yonge | Chatsworth | 5615 | 650 |  |  | 2017-06-22 |  |  | 43.722 | -79.4016 | 54 | 151 | Exists in JJ table but 30m apart. Analysis IDs include 1448413, 1448442, 1448446, 1448861, 1448887, 1448891, 1448896, 1448901, 1448906, 1448931. In all_analyses table there are two analysis_id 1460798 and 1461616 which are associated with the bt # 5615. Need to check | For Review
YO_GL | ???? | ???? | 5616 | [6 empty] | 43.7194 | -79.4009 |  | 175 | This detector could be at Yonge and Glengrove. Delete this row and rename 5619 as 5616 and change the lat lon as per jj table. | For Review
Milner | Milner | Murison | 5617 | 654 |  |  | 2017-08-12 |  |  | 43.799 | -79.2023 | 1942 | 167 | Exists in JJ table but 22 m apart PX correct | Active
Morningside | Morningside | Milner | 5618 | 661 |  |  | 2017-06-20 |  |  | 43.8003 | -79.1991 | 1584 | 165 | Exists in JJ table but 33 m apart PX correct | Active
Glengrove | Yonge | Glengrove | 5619 | 622 |  |  | 2017-08-16 |  |  | 43.722 | -79.4016 | 53 | 152 | BT id for this detector could be 5616. Detector 5616 in JJ table is at Yonge and Glengrove. The lat/lon has to be updated by jj table 5616 lat lon too. | For Review
Rouge River | Sheppard | Rouge River | 5619 | 622 |  |  | 2017-10-19 |  |  | 43.805 | -79.1868 | 1989 | 169 | PX for this detector should be 2282 if the location is correct. If PX 1989 is correct. The location of this detector to be moved further east and lat lon changed accordingly | For Review
DU_BV | Dundas | Broadview | 5620 |  |  | Downtown Expansion | 2019-07-04 |  |  | 43.6624 | -79.3513 | 292 | 88 | same bt ID creates confustion... | Active
| Traffic Adaptive Spare in Lab | Traffic Adaptive Spare in Lab | 5620 | [9 empty] | 170 | same BT ID creates confusion...Is this one and other one in lab just the same or different ? | For Review
Meadowvale | Sheppard | Meadowvale | 5621 | 664 |  |  | 2017-06-19 |  |  | 43.8084 | -79.1708 | 1220 | 163 | Exists in JJ table but 22 m apart PX correct | Active
BD_PA | Bloor | Parliament | 5622 | 665 |  | Downtown Expansion | 2018-09-10 |  |  | 43.6719 | -79.3711 | 252 | 68 | Exists in JJ table but 15 m apart PX correct. BL to BD to match data table | Active
SH_VP | Victoria Park | Sheppard | 5622 | 665 |  | Short_Study |  | 2018-08-31 |  | 43.7753 | -79.323 | 1085 | 157 | 7 Detectors with short_study in that area are decomissioned | Decommissioned
Blythwood | Mount Pleasant | Blythwood | 5623 | 666 |  |  | 2017-06-26 | 2020-05-18 |  | 43.7179 | -79.3941 | 140 | 156 | Detector in JJ Inventory table. PX is correct. Signal last received 2020-05-18 | Inactive
Duplex | Duplex | Glengrove | 5624 | 667 |  |  | 2017-06-26 |  |  | 43.7189 | -79.4039 | 855 | 155 | Exists in JJ table PX correct | Active
McLevin | Morningside | McLevin | 5625 | 660 |  |  | 2017-06-20 |  |  | 43.8089 | -79.2027 | 1536 | 164 | JJ table detector ID is 5823 at this location. PX is correct. | Active
Murison | Sheppard | Murison | 5626 | 658 |  |  | 2017-06-29 |  |  | 43.7992 | -79.2129 | 1754 | 161 | Exists in JJ table PX correct | Active
Lytton | Yonge | Lytton/Blythwood | 5627 | 659 |  |  | 2017-06-29 |  |  | 43.7165 | -79.4005 |  | 153 | Nearest PX is 52.detector table and jj table more than 100m apart | Active
DU_YO | Dundas | Yonge | 5789 | 787 |  | King Pilot | 2017-09-18 | 2020-02-07 |  | 43.6563 | -79.3814 | 36 | 10 | Detector in JJ Inventory table. PX is correct. Last signal received 2020-02-07 | Inactive
KN_PA | King | Parliament | 5790 | 794 |  | King Pilot | 2017-09-15 | 2018-08-22 |  | 43.6529 | -79.3631 | 245 | 47 | Detector in JJ inventory table. PX is correct. Signal last received 2018-08-22 | Dead
QU_JA | Queen | Jarvis | 5791 | 790 |  | King Pilot | 2017-09-14 |  |  | 43.6538 | -79.3731 | 821 | 21 | Exist in JJ table but 140m apart. Closest PX is 6 at Jarvis and Queen. As per JJ table this detector is near to Jarvis and Shuter st with PX 7. Need to check. | For Review
FR_JA | Front | Jarvis | 5792 | 793 |  | King Pilot | 2017-09-15 | 2020-02-07 |  | 43.6493 | -79.3712 | 2 | 55 | Detector in JJ inventory table. PX is correct. Last signal received 2020-02-07 | Inactive
EA_BV | Eastern | Broadview | 5793 | 783 |  | King Pilot | 2017-09-18 |  |  | 43.6565 | -79.3487 | 817 | 60 | Exists in JJ table but 32 m apart PX correct | Active
AD_YO |  |  | 5794 |  |  |  | 2017-08-18 | 2018-01-23 | [5 empty] | Exists in JJ inventory table. No other details | Dead
QU_PA | Queen | Parliament | 5795 | 786 |  | King Pilot | 2017-09-17 |  |  | 43.6556 | -79.3642 | 246 | 22 | Exists in JJ table but 15 m apart PX correct | Active
DU_PA | Dundas | Parliament | 5796 | 789 |  | King Pilot | 2017-09-17 |  |  | 43.6594 | -79.3661 | 248 | 12 | Exists in JJ table within 10 m apart PX correct | Active
FR_PA | Front | Parliament | 5797 | 796 |  | King Pilot | 2017-09-15 | 2019-07-27 |  | 43.6514 | -79.3628 | 244 | 56 | Detector in JJ inventory table. PX is correct. Signal last received 2019-07-27 | Dead
QU_SP | Queen | Spadina | 5798 | 785 |  | King Pilot | 2017-09-18 |  |  | 43.6487 | -79.3966 | 2410 | 18 | Exist in JJ table, but 34m apart. Nearest PX is 276 | Active
Castlefield | Castlefield | Yonge St | 5799 | 293 |  |  | 2016-04-10 |  |  | 43.712 | -79.3996 | 51 | 143 | This was previously # 5272, ID changed to 5799 , Since 5272 is in college and ossington. Location intersection entered as ???? In JJ inventory table. Creating confusion. | For Review
DU_SP |  |  | 5799 |  |  |  | 2018-05-13 | 2018-06-27 | [5 empty] | Exists in JJ inventory table. No other details | Decommissioned
RM_YO |  |  | 5799 |  |  |  | 2017-09-17 | 2018-02-24 | [5 empty] | Exists in JJ inventory table. No other details | Decommissioned
AC1 | College | Dovercourt | 5804 | 342 |  | Parking Restrictions | 2017-03-30 | 2018-08-31 |  | 43.6536 | -79.4261 | 830 | 104 | Detector in JJ inventory table. PX is correct. Signal last received 2018-08-14 | Dead
K | DVP | York Mills | 5806 |  |  | RESCU | 2014-01-01 |  |  | 43.7579 | -79.3351 | 756 | 126 | Exist in JJ table. more than 10m Apart. PX 756 more than 140m east | Active
A | Gardiner | Wickman | 5807 |  |  | RESCU | 2017-03-01 |  |  | 43.6165 | -79.5316 |  | 109 | no nearby PX. jj and detector within limit of within 10m | Active
H | DVP | Don Mills | 5808 |  |  | RESCU | 2013-12-01 |  |  | 43.7029 | -79.3329 |  | 121 | No nearby PX. jj and detector more than 30m apart. Analysis ID116804, 116846 | Active
LAB |  |  | 5813 | [9 empty] | 171 | There is another one in lab. Need to confirm whether there are two or one in lab. One lab location is in Denmark | For Review
B | Gardiner | Grand | 5815 |  |  | RESCU | 2014-01-01 |  |  | 43.6241 | -79.4938 |  | 111 | The location of detector in jj table and detector table is more than 50m away | Active
Yonge | Yonge Blvd | Yonge St | 5816 | [6 empty] | 43.7343 | -79.4047 | 58 | 141 | Location correct both jj and detector table | Active
DU_SP | Dundas | Spadina | 5818 | 288 |  | Parking Restrictions | 2015-11-26 |  |  | 43.6528 | -79.3982 | 277 | 6 | Exists in JJ table. PX correct. location within 10m apart. | Active
BD_HP | Bloor | High Park | 5819 |  |  |  | 2020-08-18 |  |  | 43.6537 | -79.4651 | 329 |  | New detector exist in jj table | Active
AD_YO | Adelaide | Yonge | 5820 | 795 |  | King Pilot | 2017-09-18 |  |  | 43.6504 | -79.3784 | 32 | 36 | Exists in JJ table. PX correct. location within 40m apart. | Active
RM_BA | Richmond | Bathurst | 5821 | 872 |  | Cycle Tracks | 2016-10-01 |  |  | 43.6465 | -79.4038 | 298 | 24 | Exists in JJ table. PX correct. location within 40m apart. | Active
McLevin | Morningside | McLevin | 5823 |  |  |  | 2018-10-18 |  |  | 43.8088 | -79.2024 | 1536 | 164 | Detector ID is 5625 nearby this location. Could have been replaced. Need confirmation. | For Review
RM_JA | Richmond | Jarvis | 9000 | 791 |  | King Pilot | 2017-10-02 | 2018-10-09 |  | 43.653 | -79.3728 | 5 | 30 | Exists in JJ table. PX correct. location within 10m apart. | Dead
QU_YO | Queen | Yonge | 9001 | 788 |  | King Pilot | 2017-09-14 |  |  | 43.6522 | -79.3794 | 1460 | 20 | Exists in JJ table. PX confusing closest PX should be 34 . location more than 80m apart. | Active
KN_DF | King | Dufferin | 9002 | 781 |  | King Pilot | 2017-09-21 |  |  | 43.6389 | -79.4274 | 539 | 40 | Exists in JJ table. PX correct. location 20m apart. | Active
KN_JA | King | Jarvis | 9003 | 784 |  | King Pilot | 2017-09-14 |  |  | 43.6505 | -79.3721 | 3 | 46 | Exist in JJ table, PX correct more than 25m apart. | Active
WE_YO | Wellington | Yonge | 9004 | 782 |  | King Pilot | 2017-09-17 |  |  | 43.6475 | -79.3775 | 30 | 50 | Exist in JJ table, PX correct more than 70m apart. Detector at wellington and Yonge or Front and Yonge ?? | For Review
KN_SP | King | Spadina | 9018 | 815 |  | King Pilot | 2017-09-20 |  |  | 43.6454 | -79.3952 | 273 | 43 | Exist in JJ table, PX correct more than 70m apart. | Active
RM_SP | Richmond | Spadina | 9019 | 810 |  | King Pilot | 2017-09-20 |  |  | 43.6479 | -79.3962 | 275 | 26 | Exist in JJ table, PX correct more than 25m apart. | Active
AD_SP | Adelaide | Spadina | 9020 | 811 |  | King Pilot | 2017-09-19 | 2020-02-07 |  | 43.6467 | -79.3958 | 274 | 34 | Exist in JJ table as #9020, PX correct more than 38m apart. AD_SP has two analysis IDs 1453959 and 1453973. In all_analyses there is another detector with name 9020 with analysis_id 1458969 | For Review
QU_RO | Queen/King | Roncesvalles | 9021 | 812 |  | King Pilot | 2017-09-21 |  |  | 43.6389 | -79.4464 |  | 13 | Nearest PX is 559. But JJ table location and detector table location are more than 80m apart | Active
KN_ST | King | Strachan | 9022 | 813 |  | King Pilot | 2017-09-21 |  |  | 43.6422 | -79.4118 | 538 | 41 | Exist in JJ table, PX correct more than 17m apart. | Active
QU_ST | Queen | Strachan | 9023 | 814 |  | King Pilot | 2017-09-19 | 2020-07-10 |  | 43.6454 | -79.4131 | 1332 | 15 | Detector in JJ inventory table. PX is correct. Signal last received 2020-07-10 | Inactive
KN_YO | King | Yonge | 9024 | 816 |  | King Pilot | 2017-09-19 |  |  | 43.6491 | -79.3781 | 31 | 45 | Exist in JJ table, PX correct more than 70m apart. | Active
KN_UN | King | University | 9025 | 817 |  | King Pilot | 2017-09-20 |  |  | 43.6476 | -79.3849 | 77 | 44 | Exist in JJ table. PX correct but more than 150m apart | Active
KN_BA | King | Bathurst | 9026 | 818 |  | King Pilot | 2017-09-20 | 2020-02-07 |  | 43.6439 | -79.403 | 201 | 42 | Detector in JJ inventory table. PX is correct. Signal last received 2020-02-07 | Inactive
QU_UN | Queen | University | 9027 | 819 |  | King Pilot | 2017-09-19 |  |  | 43.6509 | -79.3869 | 80 | 19 | Exist in JJ table, PX correct more than 27m apart. | Active
FR_UN | Front | University | 9028 | 825 |  | King Pilot | 2017-09-21 |  |  | 43.6452 | -79.3822 | 75 | 53 | Exist in JJ table, PX correct more than 70m apart. | Active
FB_SP | Bremner | Spadina | 9029 | 828 |  | King Pilot | 2017-09-25 |  |  | 43.6407 | -79.3928 | 1579 | 58 | Exist in JJ table, PX correct more than 60m apart. | Active
FR_YO | Front | Yonge | 9030 | 823 |  | King Pilot | 2017-09-21 |  |  | 43.6468 | -79.3771 | 29 | 54 | Exist in JJ table, PX correct more than 60m apart. | Active
WE_UN | Wellington | University | 9031 | 829 |  | King Pilot | 2017-09-25 |  |  | 43.6464 | -79.3842 | 76 | 49 | Exist in JJ table, PX correct more than 17m apart. | Active
WE_BJ | Wellington | Blue Jays Way | 9032 | 820 |  | King Pilot | 2017-09-25 |  |  | 43.6448 | -79.3917 | 1682 | 48 | Exist in JJ table, PX correct more than 70m apart. | Active
FR_SP | Front | Spadina | 9033 | 821 |  | King Pilot | 2017-09-26 |  |  | 43.6426 | -79.3941 | 272 | 52 | Exist in JJ table, PX correct more than 47m apart. | Active
FB_BA | Fort York | Bathurst | 9034 | 822 |  | King Pilot | 2017-09-26 | 2019-01-31 |  | 43.6387 | -79.4007 | 1919 | 57 | Detector in JJ table. PX is correct. Signal last received 2019-01-31 | Dead
FR_BA | Front | Bathurst | 9035 | 824 |  | King Pilot | 2017-09-26 |  |  | 43.6407 | -79.4013 | 297 | 51 | Exist in JJ table, PX correct more than 10m apart. | Active
QU_BA | Queen | Bathurst | 9036 | 827 |  | Parking Restrictions | 2017-03-06 |  |  | 43.6471 | -79.404 | 1593 | 16 | Exist in JJ table, PX not correct (296) more than 50m apart. | Active
AD_BA | Adelaide | Bathurst | 9037 | 825 |  | Cycle Tracks | 2016-05-14 |  | 2020-02-07 23:55 | 43.6452 | -79.4033 | 1883 | 32 | Detector in JJ inventory table. PX is correct. No reported signal date in aggr_5min table | Inactive
DU_UN | Dundas | University | 9038 | 830 |  | King Pilot | 2017-10-05 |  |  | 43.6547 | -79.3886 | 81 | 9 | Exist in JJ table, PX correct within 10m apart. | Active
DU_DF | Dundas | Dufferin | 9039 | 834 |  | King Pilot | 2017-10-05 | 2020-02-07 |  | 43.6495 | -79.4315 | 190 | 4 | Exist in JJ table, PX correct more than 25m apart. Signal last received 2020-02-07 | Inactive
RM_UN | Richmond | University | 9040 | 835 |  | King Pilot | 2017-10-05 |  |  | 43.6502 | -79.3863 | 79 | 27 | Exist in JJ table, PX correct more than 40m apart. | Active
DU_BA | Dundas | Bathurst | 9041 | 832 |  | King Pilot | 2017-10-05 | 2020-02-07 |  | 43.6522 | -79.4061 | 196 | 5 | Detector in JJ inventory table. PX correct . Signal last received 2020-02-07. | Inactive
AD_JA | Adelaide | Jarvis | 9042 | 836 |  | King Pilot | 2017-10-02 |  | 2018-10-12 00:10 | 43.6516 | -79.3722 | 4 | 38 | Exist in JJ table, PX is correct more than 59m apart | Active
QU_BV | Queen | Broadview | 9043 | 831 |  | King Pilot | 2017-10-02 |  |  | 43.6588 | -79.3497 | 543 | 23 | Exist in JJ table, PX correct within 10m apart. | Active
AD_UN | Adelaide | University | 9044 | 833 |  | King Pilot | 2017-10-02 |  |  | 43.649 | -79.3854 | 78 | 35 | Exist in JJ table. PX correct but more than 40m apart | Active
BD_WB | Danforth | Woodbine | 9078 | 871 |  | East Expansion | 2019-05-22 |  |  | 43.6857 | -79.3128 | 351 | 89 | Exist in JJ table, PX correct over 10m apart. | Active
QU_GW | Queen | Greenwood | 9079 | 874 |  | East Expansion | 2019-05-27 |  |  | 43.6644 | -79.3253 | 1393 | 97 | Exist in JJ table, PX correct over 90m apart. | Active
BD_SP | Bloor | Spadina | 9081 | 884 |  | Downtown Expansion | 2018-08-08 | 2020-07-30 |  | 43.6667 | -79.4038 | 281 | 69 | Detector in JJ inventory table as BL_SP. PX is correct. BL_SP changed to BD_SP to match all analyses table | Inactive
GE_YO | Gerrard | Yonge | 9089 | 887 |  | Downtown Expansion | 2018-08-09 |  |  | 43.6591 | -79.3821 | 37 | 80 | No signal reported yet. location and detector name correct,PX is correct | Inactive
HB_BA | Harbord | Bathurst | 9090 | 889 |  | Downtown Expansion | 2018-08-13 |  |  | 43.6616 | -79.4097 | 303 | 81 | Exist in JJ table, PX correct over 25m apart. New detector without routes | New location
GE_PA | Gerrard | Parliament | 9091 | 886 |  | Downtown Expansion | 2018-08-09 |  |  | 43.662 | -79.3671 | 249 | 78 | Exist in JJ table, PX correct over 25m apart. | Active
BD_BA | Bloor | Bathurst | 9092 | 888 |  | Downtown Expansion | 2018-08-07 | 2020-07-30 |  | 43.6651 | -79.4112 | 321 | 62 | Exist in JJ table, PX correct over 44m apart. BL to BD to match data table | Inactive
CO_SP | College | Spadina | 9093 | 880 |  | Downtown Expansion | 2018-08-09 |  |  | 43.6579 | -79.4 | 279 | 73 | Exist in JJ table, PX correct over 50m apart. | Inactive
RM_YO | Richmond | Yonge | 9095 | 668 |  | King Pilot | 2017-09-17 |  |  | 43.6519 | -79.3793 | 33 | 28 | Exist in JJ table, PX correct over 20m apart. | Active
BD_DF | Bloor | Dufferin | 9096 | 895 |  | Downtown Expansion | 2018-08-07 |  |  | 43.6599 | -79.4354 | 325 | 64 | Exist in JJ table, PX correct within 10m apart. Changed BL to BD to match data table. Analysis ID 1495090, 1495907. No data pulled for date of last signal received. | Inactive
WS_QP | Wellesley | Queens Park Cres | 9097 | 893 |  | Downtown Expansion | 2018-08-08 |  |  | 43.6636 | -79.3906 | 84 | 86 | Exist in JJ table, PX correct over 20m apart. New detector without routes | New location
BD_OS | Bloor | Ossington | 9098 | 886 |  | Downtown Expansion | 2018-08-07 |  |  | 43.6619 | -79.4256 | 341 | 67 | Analysis ID: 1495109, 1495892. Detector in JJ inventory table as BL_OS. PX is correct. BL_OS changed to BD_OS to match all analyses table. No data pulled for date of last signal. | Inactive
BD_JA | Bloor | Ted Rogers | 9099 | 892 |  | Downtown Expansion | 2018-08-07 |  |  | 43.6716 | -79.3806 | 14 | 66 | Exist in JJ table, PX correct over 35m apart. BL to BD to match data table | Active
HB_SP | Harbord | Spadina | 9100 | 891 |  | Downtown Expansion | 2018-08-13 |  |  | 43.6631 | -79.4021 | 280 | 83 | Exist in JJ table, PX correct over 20m apart. New detector without routes | New location
GE_JA | Gerrard | Jarvis | 9101 | 894 |  | Downtown Expansion | 2018-08-09 |  |  | 43.6605 | -79.3758 | 9 | 77 | Exist in JJ table, PX correct over 90m apart. | Active
BD_YO | Bloor | Yonge | 9102 | 873 |  | Downtown Expansion | 2018-08-08 |  | 2020-09-11 20:35 | 43.6702 | -79.3867 | 40 | 70 | Exist in JJ table. PX is correct. BL changed to BD to match data analyses table | Active
CO_YO | College | Yonge | 9103 | 885 |  | Downtown Expansion | 2018-08-08 |  |  | 43.6614 | -79.3831 | 38 | 74 | Exist in JJ table. PX is correct | Inactive
DU_CX | Dundas | Coxwell | 9113 | 910 |  | East Expansion | 2019-05-21 |  |  | 43.6687 | -79.3175 | 283 | 92 | Exist in JJ table, PX correct over 20m apart. | Active
EA_CX | Eastern | Coxwell | 9114 | 913 |  | East Expansion | 2019-05-21 |  |  | 43.6655 | -79.3162 | 301 | 93 | Exist in JJ table, PX correct over 20m apart. | Active
KS_WB | Kingston | Woodbine | 9115 | 906 |  | East Expansion | 2019-05-22 |  |  | 43.6739 | -79.3079 | 162 | 90 | Exist in JJ table, PX correct within 10m apart. | Active
LS_CX | Lakeshore | Coxwell | 9116 | 907 |  | East Expansion | 2019-05-21 | 2019-12-20 |  | 43.6623 | -79.3148 | 963 | 94 | Detector in JJ inventory table. PX is correct. Signal last received 2019-12-20 | Dead
BD_GW | Danforth | Greenwood | 9117 | 912 |  | East Expansion | 2019-05-22 |  |  | 43.6815 | -79.3324 | 348 | 95 | Exist in JJ table, PX correct over 20m apart. | Active
LS_LE | Lakeshore | Leslie | 9118 | 905 |  | East Expansion | 2019-05-27 |  |  | 43.6592 | -79.3284 | 206 | 100 | Exist in JJ table, PX correct over 35m apart. | Active
LS_DR | Lakeshore | Don Roadway | 9119 | 904 |  | East Expansion | 2019-05-27 |  |  | 43.6512 | -79.347 | 208 | 101 | Exist in JJ table, PX correct over 10m apart. | Active
EA_LE | Eastern | Leslie | 9122 | 909 |  | East Expansion | 2019-05-27 |  |  | 43.6616 | -79.3295 | 302 | 99 | Exist in JJ table, PX correct over 10m apart. | Active
GE_GW | Gerrard | Greenwood | 9123 | 914 |  | East Expansion | 2019-05-21 |  |  | 43.6709 | -79.328 | 369 | 96 | Exist in JJ table, PX correct within 10m apart. | Active
QU_WB | Queen | Woodbine | 9125 | 911 |  | East Expansion | 2019-05-22 |  |  | 43.6688 | -79.3058 | 548 | 91 | Exist in JJ table. PX is correct | Active
401Morn |  |  | 9191 | [6 empty] | 43.7979 | -79.198 |  |  | Detector at this location has ID of 9191. Lat Lon populated from JJ table. Is that the replacement for 5611 ? This detector has to be checked against detector named 'Sheppard' with BT # 5608. | For Review
J | DVP | Lawrence | 9275 |  |  | RESCU | 2019-07-08 |  |  | 43.7397 | -79.3318 |  | 124 | no nearby PX. jj and detector within limit of within 10m | Active
DU_JO | Dundas | Jones | 9279 |  |  | East Expansion | 2019-05-27 | 2019-08-26 |  | 43.6662 | -79.3342 | 287 | 98 | Exist in JJ table, PX correct over 20m apart, last signal received 2019-08-26 | Dead
|  |  | 9311 | [6 empty] | 43.6344 | -79.4224 |  |  | This detector is near Gardiner east of Dufferin St in JJ table. No other details available. Detectors that has stopped sending signals are named as C at this location. This could be C. | For Review
BL_RU | Bloor St W | Runnymede Rd | 9312 | [6 empty] | 43.6512 | -79.476 | 331 |  | Location correct both jj and detector table. New detector without routes. In the all_analysis table lat and long of detector with name BL_RU is 43.656456 and -79.348656. Which is broadview and eastern avenue. Needs correction | New location
AC2 | College | Bathurst | [5 empty] | 2018-10-10 |  | 43.6563 | -79.4075 |  |  | Used to be in College and Bathurst. Likely replaced by CO_BA | Dead
AC3 | College | University | [5 empty] | 2017-09-13 |  | 43.6597 | -79.3907 |  |  | Used to be in College ST and University Ave. Most likely replaced by CO_UN | Dead
AC4 | Carlton | Parliament | [5 empty] | 2017-09-13 |  | 43.6642 | -79.368 |  |  | Used to be in Carlton and parliament St. Most likely replaced by CO_PA | Dead
AC4 | Dundas | Spadina | [7 empty] | 43.653 | -79.3979 |  |  | Two other detectors at this intersection. AD4 and DU_SP | Active
AD_YO | Queen | Spadina | [7 empty] | 43.6487 | -79.3966 |  |  | Though name is AD_YO, location shows queen st west and spadina ave. Could be same as QU_SP with with # 5798 | Active
AD1 | Dundas | Roncesvalles | [5 empty] | 2017-12-17 |  | 43.6538 | -79.4516 |  |  | Detector name DU_RO is at the similar location. Detector not in JJ Inventory table. | Dead
AD4 | Dundas | Spadina | [5 empty] | 2018-08-29 |  | 43.6529 | -79.3983 |  |  | AC4 and DU_SP in the same intersection. # 5818 | Dead
AL1 | Lawrence | [6 empty] | 2017-04-19 |  | NULL | NULL |  |  | No clue about the location of this detector. Analysis ID 1419433. Route ID 1419361, GTA - Lawrence AL2-AL1 WB | Dead
AL2 | Lawrence | Mount Pleasant | [7 empty] | 43.7262 | -79.3968 |  |  | No clue about the location of this detector. Analysis ID 1419415, 1428279, 1428290. Route ID 1419354, 1428169, 1428176 GTA - Lawrence AL2-AL1 WB. Could be one of BT IDs 5333 or 5331. Detector still active. Name might have changed to Mt Pleasant. | Active
AQ1 | Queen | Dufferin | [5 empty] | 2018-10-10 |  | 43.6423 | -79.4285 |  |  | Same location as QU_DF. Signal was stopped on the same date as QU_DF | Dead
AQ2 | Queen | Bathurst | [5 empty] | 2018-10-11 |  | 43.6471 | -79.4042 |  |  | Same location as QU_BA. #9036. Still sending Signals. The one that stopped sending signal was replaced | Dead
AS1 | Sheppard | Heron's Hill Way | [5 empty] | 2018-08-20 |  | 43.7758 | -79.335 |  |  | Analysis ID 1419450, 1427564, 1428097, 1428120. Route ID 1419374, 1427436, 1427427, 1427520. AS2-AS1. Could be BT ID 5228 for short study. | Dead
AS2 | [7 empty] | 2017-07-06 |  | NULL | NULL |  |  | Analysis ID 1419444, 1427570, 1428092, 1428103. Route ID 1419371, 1427442, 1427430, 1427470. AS1-AS2. This is a detector located in short study area | Dead
AV1 | [7 empty] | 2018-08-16 |  | NULL | NULL |  |  | Could be VP_CL , BT ID 5271 for short study. Analysis ID 1419426, 1420543, 1420553, 1427548, 1428129, 1428139. This is a detector located in short study area | Dead
AV2 | [7 empty] | 2018-08-20 |  | NULL | NULL |  |  | Analysis ID 1419421, 1419438, 1420525, 1420534, 1422329, 1422416, 1427556, 1428134, 1428150. This is a detector located in short study area | Dead
AY1 | Yonge Blvd | Yonge St | [7 empty] | 43.7343 | -79.4047 |  |  | Analysis ID 1419409, 1428274, 1428304 Could be detector 5816. Need to verify | Active
AY2 | [9 empty] | NULL | NULL |  |  | Analysis ID 1419380, 1428267, 1428309. Could be detector 5799. Need to verify | Active
B | Gardiner | Grand | [5 empty] | 2020-08-27 |  | 43.6247 | -79.4937 |  |  | This detector seem to have stopped sending data on 2019/12/04 and replaced by another with the same name. Coordinates are almost the same. Could be same as # 5815 | For Review
B5012 | [9 empty] | 43.6247 | -79.4938 |  |  | This is still an active detector. Analysis ID 378651 | Active
BA1 | [7 empty] | 2018-10-09 | [5 empty] | Analysis ID 1427970, 1427990. This could be AD_PA that has stopped sending signals. | Dead
BR1 | [7 empty] | 2018-10-09 | [5 empty] | Analysis ID 1427985. No other details | Dead
BR4 | [7 empty] | 2017-07-21 | [5 empty] | Analysis ID 1432978. No other details | Dead
Herons Hill Way | [7 empty] | 2018-08-20 | [5 empty] | No analysis ID, No location details. | Dead
Pharmacy | [13 empty] | Most likely short study detector But is still sending signal. Analysis ID 1448799 | For Review
Settlers | [9 empty] | NULL | NULL |  |  | Most likely this detector is # 5609 either named 'Settlers' or BL_BV. Analysis_ids 1448403, 1448760, 1448773, 1448778, 1448783, 1448789, 1448794, 1448805, 1448810, 1448831 | For Review
BL_BA | [7 empty] | NULL |  | 43.6588 | -79.3497 |  |  | The lat and lon of BL_BA locates at Broadview Ave and Queen St E. The analysis_id 1511878 and 1511888 include which includes BL_BA as one of the route points is not in segments table or bluetooth_routed table, Report name says Bloor-EB_Runnymede-to-Dundas and Bloor-EB_Runnymede-to-Bathurst | For Review
C (Qual) | Gardiner | Spadina | [5 empty] | 2018-05-08 13:25 |  | 43.6387 | -79.392 |  |  | Analysis_id 1391996 in all_analyses table. | inactive
Clydesdale | [7 empty] | 2018-08-16 14:30 |  | NULL | NULL |  |  | Analysis_id 1448810, 1448815, 1448778, 1448846 are associated with this detector name in all_analyses table. | inactive
IBM | [13 empty] | Analysis_id 1448851, 1448789,1448408,1448403, | For Review

## Sheet1
detector_n | street1 | street2 | bluetooth_ | wifi_id | detector_1 | project | date_start | date_end | latitude | longitude | PX | index1 | Comments | Status
Islington | Gardiner | Islington | 4033 |  |  | RESCU | 2015-09-24 |  | 43.62 | -79.5126 |  | 136 | Location corrected to the lat and long as of JJ table for detector ID 4033 | Dig deep
Spanbridge | DVP | Spanbridge | 5121 |  |  | RESCU | 2015-09-24 |  | 43.7126 | -79.3251 |  | 137 | This is correct. 4033 moved to islington and Gardiner | Dig deep
York Mills | DVP | York Mills | 5122 |  |  | RESCU | 2015-09-24 |  | 43.7486 | -79.3337 | 756 | 138 | Exist in JJ table. 1 km south of Yorkmills Rd. BT ID 5806 is at Yorkmills Rd and DVP. PX same as BT ID 5806. Ask updated coordinates from JJ | Dig deep
WS_PA | Wellesley | Parliament | 5123 | 291 |  | Downtown Expansion | 2018-08-30 |  | 43.6682 | -79.3695 | 251 | 85 | Not in latest JJ table , PX correct. Can't determine the last data pull date | Dig deep
Royal York | Gardiner | Royal York | 5124 |  |  | RESCU | 2015-09-24 |  | 43.6224 | -79.5007 |  | 139 | Lat lon added from JJ table. geometry has to be calculated. Analysis table doesnot show this detector. Need to check with JJ why not pulling data | Dig deep
Beechwood | DVP | Beechwood | 5233 |  |  | RESCU | 2015-09-24 |  | 43.6957 | -79.3541 |  | 140 | Not in JJ table, probably not sending signals check, could not determine last signal sent date | Dig deep
DU_OS | Dundas | Ossington | 5266 | 344 |  | Downtown Expansion | 2018-10-10 |  | 43.6494 | -79.4209 | 180 | 75 | Not in JJ table, px is correct, duplicate BT ID | Dig deep
BD_DU | Bloor | Dundas | 5268 | 343 |  | Downtown Expansion | 2018-10-10 |  | 43.6564 | -79.4524 | 327 | 65 | Not in JJ table, px is correct, duplicate BT ID. BL to BD to match data table. No data pulled for date of last signal received. | Dig deep
CO_OS | College | Ossington | 5272 | 293 |  | Downtown Expansion | 2018-10-11 |  | 43.6544 | -79.4226 | 829 | 72 | This one stays as 5272 | Dig deep
WS_YO | Wellesley | Yonge | 5329 | 397 |  | Downtown Expansion | 2018-08-28 |  | 43.6649 | -79.3845 | 39 | 87 | Detector not in JJ table, could have been discontinued or not sending signals, PX correct | Dig deep
GE_UN | Gerrard | University | 5331 | 295 |  | Downtown Expansion | 2018-10-11 |  | 43.6577 | -79.3899 | 1608 | 79 | Detector not in JJ table. No signal reported yet. location and detector name correct, PX correct | Dig deep
CO_DF | College | Dufferin | 5412 | 494 |  | Downtown Expansion | 2018-10-10 |  | 43.6526 | -79.4326 | 605 | 71 | Detector not in JJ table. PX is correct | Dig deep
Sheppard | Sheppard | Morningside | 5608 | 653 |  |  | 2017-06-19 |  | 43.802 | -79.1998 | 1108 | 162 | Detector in JJ table more than 60m apart | Dig deep
HB_QP | Hoskin | Queens Park Cres | 5612 | 655 |  | Downtown Expansion | 2018-09-10 |  | 43.665 | -79.394 | 1482 | 82 | Detector in JJ table within 10m. New detector without routes | Dig deep
YO_GL | ???? | ???? | 5616 | [8 empty] | 175 | This detector is in Yonge and Glengrove as in JJ table. Delete this row and rename 5619 as 5616 and change the latlon as per jj table. | Dig deep
| Traffic Adaptive Spare in Lab | Traffic Adaptive Spare in Lab | 5620 | [8 empty] | 170 | same BT ID creates confusion...Is this one and other one in lab just the same or different ? | Dig deep
AD_YO | Adelaide | Yonge | 5820 | 795 |  | King Pilot | 2017-09-18 |  | 43.6504 | -79.3784 | 32 | 36 | Exists in JJ table. PX correct. location within 40m apart. | Dig deep
WE_YO | Wellington | Yonge | 9004 | 782 |  | King Pilot | 2017-09-17 |  | 43.6475 | -79.3775 | 30 | 50 | Exist in JJ table, PX correct more than 70m apart. | Dig deep
GE_YO | Gerrard | Yonge | 9089 | 887 |  | Downtown Expansion | 2018-08-09 |  | 43.6591 | -79.3821 | 37 | 80 | Detector not in JJ table. No signal reported yet. location and detector name correct,PX is correct | Dig deep
HB_BA | Harbord | Bathurst | 9090 | 889 |  | Downtown Expansion | 2018-08-13 |  | 43.6616 | -79.4097 | 303 | 81 | Exist in JJ table, PX correct over 25m apart. New detector without routes | Dig deep
CO_SP | College | Spadina | 9093 | 880 |  | Downtown Expansion | 2018-08-09 |  | 43.6579 | -79.4 | 279 | 73 | Exist in JJ table, PX correct over 50m apart. | Dig deep
BD_DF | Bloor | Dufferin | 9096 | 895 |  | Downtown Expansion | 2018-08-07 |  | 43.6599 | -79.4354 | 325 | 64 | Exist in JJ table, PX correct within 10m apart. BL to BD to match data table. Analysis ID 1495090, 1495907. No data pulled for date of last signal received. | Dig deep
WS_QP | Wellesley | Queens Park Cres | 9097 | 893 |  | Downtown Expansion | 2018-08-08 |  | 43.6636 | -79.3906 | 84 | 86 | Exist in JJ table, PX correct over 20m apart. | Dig deep
BD_OS | Bloor | Ossington | 9098 | 886 |  | Downtown Expansion | 2018-08-07 |  | 43.6619 | -79.4256 | 341 | 67 | Analysis ID: 1495109, 1495892. Detector not in JJ table. PX is correct. BL to BD to match data table. No data pulled for date of last signal. | Dig deep
HB_SP | Harbord | Spadina | 9100 | 891 |  | Downtown Expansion | 2018-08-13 |  | 43.6631 | -79.4021 | 280 | 83 | Exist in JJ table, PX correct over 20m apart. New detector without routes | Dig deep
CO_YO | College | Yonge | 9103 | 885 |  | Downtown Expansion | 2018-08-08 |  | 43.6614 | -79.3831 | 38 | 74 | Detector not in JJ table. PX is correct | Dig deep
|  |  | 9311 | [5 empty] | 43.6344 | -79.4224 |  |  | This detector is near Gardiner east of Dufferin St in JJ table. No other details available. Detectors that has stopped sending signals are named as C at this location. Could be C. | Dig deep
BL_RU | Bloor St W | Runnymede Rd | 9312 | [5 empty] | 43.6512 | -79.476 | 331 |  | Location correct both jj and detector table. | Dig deep